## Table des Casiers de Localisati
Internal no | Description | Qté_Requise | MANUFACTURER | MFG P/N | STK | PRICE | TOTAL VALUE | NOTE
| (see Bottom of the list for contact information) |  |  |  |  | (US) | (US)
| 120/347 VOLTS HID LAMP BALLAST FOR 1x70W S62 High Pressure Sodium Lamp |  | ADVANCE TRANSFORMER | 72C79C4-NP | 3 | 100 | 300 | Made in USA
| 1" ENT COUPLING (Concrete-tight when used with Carlon ENT) - Suitable for damp locations- No glue or cement needed nonconductive thermoplastic material (Blue) |  | CARLON | A240F | 54 | 1 | 54 | Made in USA
| THREADED ADAPTER, ENT MALE QUICK CONNECT 3/4" (Concrete-tight when used with Carlon ENT) - Suitable for damp locations- No glue or cement needed nonconductive thermoplastic material (Blue) |  | CARLON | A243E | 5 | 1 | 5 | Made in USA
| Snap-In ADAPTER, ENT MALE QUICK CONNECT 3/4" (Concrete-tight when used with Carlon ENT) - Suitable for damp locations- No glue or cement needed nonconductive thermoplastic material (Blue) |  | CARLON | A253E | 20 | 1 | 20 | Made in USA
| 2-GANG GFCI / TOGGLE SWITCH WEATHERPROOF PLASTIC COVER (grey) UL/CSA |  | CARLON | E9G2GTN-CAR | 20 | 15 | 300 | Made in USA: 5/BOX (4"x12"x6")
| GROOVED PHENOLIC BAFFLE 3 1/2" LINE VOLTAGE PAR20 (WHITE) max 50W |  | Contrast Lighting | BAFRE2550-01 | 5 | 5 | 25 | Made in CANADA
| B-LINE Washer; Square 1-5/8 x 1-5/8 Inch For 3/8 Inch Bolt (7/16" hole) (Zinc Plated); 0.17lb/ea |  | COOPER | B201 | 60 | 1 | 60 | Made in USA
| B-LINE Washer; Square 1-5/8 x 1-5/8 Inch For 1/2 Inch Bolt (ZINC PLATED); 0.17lb/ea |  | COOPER | B202 | 2 | 1 | 2 | Made in USA
| B-LINE PIPE CLAMP 1/2 EMT CONDUIT TO STRUT; ZINC PLATED; 200 LB LOAD |  | COOPER | B1508 | 70 | 1 | 70 | Made in USA
| B-LINE CEILING SIGN HANGER FOR 15/16" T-BAR (WHITE) UPC #781011 18040 (can support 18Kg max) |  | COOPER | BA-4-16-H | 75 | 0.5 | 37.5 | Made in USA
| BREAK- APART CLAMP 3" RIGID or EMT (Zn Plated) |  | COOPER | BPC-48 | 15 | 2.5 | 37.5 | Made in USA
| 2'x4' DRY WALL FRAME KIT METALUX for Corelite R1 Ultra-shallow recessed fixture (WHITE) |  | COOPER LIGHTING | DF-24W-U | 16 | 5 | 80 | Made in USA
| Reversible Beam Clamp Model 300 (Rod size 3/8"-16; Flange Thk 3/4"; Fastener Height 13/16") Mat'l: malleable iron w' electrogalvanized finish (BTM mount load 250 lbs; TOP mount load: 500 lbs) |  | ERICO | 3000037EG | 25 | 3 | 75 | Made in USA
| PLASTIC SLEEVE 4" (From 4 1/8" - 5 1/2") Height: 8" BLACK (can be used in every type of concrete floor. It can minimize concrete drilling costs to pass pipes, cables, etc.) |  | FIBRO DRAIN | PS-4" | 120 | 5 | 600 | Made in CANADA (40/bte)
| STATION MANUELLE d' Alerte pour Feu (Fire Alarm Pull Station) FRANÇAIS "Tirez en cas de feu", Break Glass, Metal, Single Pole, Open Circuit |  | G.E. | 270-SPOF | 1 | 30 | 30 | Made in CANADA
| 2 Barrels LUG side entry (Wire range 8-500 kcmil; 2/0-600 kcmil) Cu9Al (550 in/lbs) UL/CSA |  | G.E. | 331A1350G8 | 4 | 10 | 40
| Lighting Contactor Coil 110V 50Hz; 115-120V 60Hz (for use with CR460L Lighting contactors) |  | G.E. | 460XCJ | 2 | 20 | 40 | Made in USA (original box)
| Quartzline Clear Tungsten-Halogen Lamp 120V 250W Q250CL/DC T4 DC BASE (Bayonet 2 contact) ETB JD250DC 107033 INDUSTRIAL GRADE (ALB-UPC: O47145) |  | G.E. | 43697 | 10 | 5 | 50
| Quartzline Clear Tungsten-Halogen Lamp 130V 250W Q250CL/MC T4 E11 BASE 130V JD250MC 107032 PRISM INDUSTRIAL GRADE (ALB-UPC: O47150) |  | G.E. | 43700 | 8 | 5 | 40
| EXHAUST FAN 50 CFM at 3.0 Sones (3" Duct connection) vent. 60 sq.ft. max (Ceiling or wall mounting) Grill size 10"x10" Plastic White (Housing: 7 9/16"x 7 9/16"x 3 3/4") |  | G.E. | BF50 | 2 | 40 | 80 | Made in CANADA (box 4 1/2 x 10" x 11 1/2")
| HEATER ELEMENT (Max Motor full-load 0.48A under NEMA sizes 00, 0 and 1; Max Motor full-load 14.2A under NEMA size 1P) sold 3/box |  | G.E. | CR103C054A | 2 | 18 | 36 | Made in USA (3 per box)
| INDICATOR LIGHT PUSH TO TEST; SIZE 1-13/64"; LAMP INPUT 120 VAC AT 50/60 HZ FULL VOLTAGE; LENS STYLE/SIZE ROUND; LENS COLOR GREEN; POLYCARBONATE LENS; NEMA 1/3/3R/4/4X/12/13, IP2X; UL, CSA |  | G.E. | CR104PLT22G | 1 | 100 | 100 | Made in USA
| Heavy duty Wobble Stick Kit for CR104PBS "Series A" 30.5mm, 600V AC/DC, 10A, watertight/oiltight. Converts standard pushbutton to wobblestick. Brand new in the box w/instruction sheet insealed bag. |  | G.E. | CR104PXM05 | 1 | 15 | 15 | Made in USA
| Contactor 25A 2 Poles Coil 208-240V 50/60Hz (Designed to control air conditioning, refrigeration and resistance heating loads) |  | G.E. | CR453CB2BAA | 1 | 16 | 16 | Made in China (original box)
| BIAX 24W 2G11 3K F27BX/SPX30 13 30615/16944F27BXSPX30RS (ALB-UPC: AZZ0IH) Length 323,4 mm 0,34 A 1800 lumens |  | G.E. | F24BX/830 | 25 | 5 | 125
| "U" Shaped Fluorescent LampF35T12/U6 Mod-U-Line Watt-Miser 3000K Product code 12207GE SKU 338473 Bulb type: T12 Base: Medium BiPin (G13) |  | G.E. | F35WW/U/6/WM | 12 | 10 | 120
| One barrel LUG (Wire range 2-600 kcmil; (2)1/0-250 kcmil) Cu9Al (550 in/lbs) UL/CSA |  | G.E. | GE-625-5 | 4 | 10 | 40
| Husky rotary 3PH motor switch; 240VAC/7.5HP 480VAC/10HP 600VAC/10HP; 1PH- 2POLE 120V/1HP 240V/2HP |  | G.E. | ML1-025-E-1560-HS-GE | 1 | 30 | 30 | Made in Czech Rep.
| Husky rotary 3PH motor switch; 240VAC/7.5HP 480VAC/10HP 600VAC/10HP; 1PH- 2POLE 120V/1HP 240V/2HP |  | G.E. | ML1-025-V-1520-HS-GE | 1 | 30 | 30 | Made in Czech Rep.
| 6" FLANGE HANDLE for use with enclosure Type 1 and 12; Right or Left Hand and variable depth operating mechanisms, Type TDOM and SDOM |  | G.E. | STDA1 | 1 | 20 | 20 | Made in USA (incomplet)
| 10" FLANGE HANDLE for use with enclosure Type 1 and 12; Right or Left Hand and variable depth operating mechanisms, Type TDOM and SDOM |  | G.E. | STDA2 | 1 | 40 | 40 | Made in USA
| CIRCUIT BREAKER K FRAME LUG 3 POS. (MAX 1200A) for SK and TK Frame (Wire range 3/0-500 kcmil) Cu-Al |  | G.E. | TCAL81 | 1 | 40 | 40 | Assembled in Mexico
| CIRCUIT BREAKER LUG 3 Barrels (MAX 1200A) for SK and TK Frame (Wire range 350-750 kcmil) Copper |  | G.E. | TCO-124 | 3 | 50 | 150 | Assembled in Mexico
| Rainproof Power inlets for portable and outdoor generator 30 Amp 120/240VAC L14-30 Twist Lock (14 3/8” x 6 3/4” x 5 3/16”) Type 3R enclosure (GREY) |  | G.E. | T030N | 1 | 50 | 50
| FRAME SINGLE PADLOCK DEVICE FOR E150 LINE CIRCUIT BREAKER |  | G.E. | TEFPLD1 | 44 | 15 | 660
| EQUIPMENT GROUND KIT TYPE TGL/TGC; (4) #14-8 AWG Cu or #12-8 AWG Al & (3) #14-4 AWG Cu or #6-4 AWG Al |  | G.E. | TGL1 | 24 | 2 | 48 | Assembled in Mexico
| CIRCUIT BREAKER ENCLOSURE 100A 240V max Surface mounted NEMA 1 (neutral included) Type: "1, 2, OR 3 POLE THQL" UPC 783164-02142 Dim.: 6 5/8" x 17" x 4" |  | G.E. | TQL100S | 2 | 100 | 200 | Assembled in Mexico
| MANUAL MOTOR STARTER 60 A, 600 VAC, Toggle In Type 3R Enclosure Three-Pole AC Motor Starting Switch, Industrial Grade, Grounded To Enclosure, Color Grey w/ Black Lettering (Dim.: 6 1/8" x 8 1/8" x 4 1/4") incl. LEVITON MS603 3PST 60A 600VAC SWITCH (10HP 240VAC; 25HP 480VAC; 30HP 600VAC) |  | LEVITON | N3603 | 1 | 170 | 170 | Assembled in Mexico
| LOL 4 1/4" PAR20 RESIDENCE TRIM,BLK 50 Watt - PAR20 (LYTECASTER model) |  | LIGHTOLIER | 513BKX | 16 | 10 | 160
| Open trim with drop opal lens and neoprene gasket for damp locations; For use with A19 40W lamps (White trim) UPC # 7-71250-90452-2 For use with 6" line voltage housings #HV6-HR15-DLAT |  | LITELINE | HV6-TH6019-WH | 5 | 20 | 100 | Made in CANADA
| FINISHING SECTION FOR RECESSED HID LUMINAIRE AH, AHW, AHZW or RH TRIM for use with rough-in section GRSH or AHW (Alum.) |  | LITHONIA LIGHTING | 950602 (AH 6AR TRIM U) | 2 | 20 | 40 | Box 9"x9"x9"
| HID DOWN LIGHT RECESSED HOUSING OPEN WALLWASH GRSH 70S 120/347 HSG for 70W High Pressure Sodium Lamp |  | LITHONIA LIGHTING | GRSH/AHW 70S | 3 | 75 | 225
| TUBULAR BULB 15T6/CL/CAN/145V E12 BASE 15 WATT CLEAR T6 145 VOLT E12 BASE (used in appliances, aquariums, cabinet lights and picture lights) |  | PHILIPS | 15T6/CL | 10 | 3.5 | 35 | in original box
| PL-C 26W/827/4P/ALTO - NAED 20684 26 Watt - 4 Pin G24q-3 Base - 2700K - CFL Life Hours (Avg) : 12,000 Color Rendering Index: 82 Over all Length (M.O.L) : 6.5" Lumens (Initial): 1800 |  | PHILIPS | 38334-9 | 10 | 4 | 40
| 1/2" Galvite® Electrical Rigid Metal Conduit-Steel (Zn plated) OD: 0.84" (5" Long) Treads per Inch: 14 |  | Republic Conduit (Columbia-MBF) | ERMC-S (1/2"x 5" Lg) | 30 | 3 | 90
| Heat-shrinkable Cable Breakouts w/ 3 Cores (2.7" Hole) 170/60 60/30 |  | RAYCHEM | 402W439/S | 7 | 30 | 210
| Heat-shrinkable Cable Breakouts w/ 3 Cores (185-300 mm.sq.) 95/28 44/13 |  | RAYCHEM | 402W526/S | 1 | 20 | 20
| Strut Beam Clamp; Throat size 7/8”, Height 3 1/4", all holes 9/16" (Hot Dipped Galv. Finish) recommended load 300-500 lbs |  | SASCO | S902BC-HG | 500 | 2 | 1000 | MADE IN CANADA: 25/box
| 120/277 VOLTS 50/60 Hz Compact Fluorescent FIXTURE FOR Two Lamp CFM42W PS, Bottom Exit (incl. Ballast TRIAD # C242UNVBE) |  | SOLERA | 16XRXB8 TYPE E1 | 8 | 75 | 600
| Galvanized Steel Hanger (Steel City) for 2 1/2" EMT or Rigid Conduit w/ Bolt & nut (UL & CSA) UPC # 78599150500; will accommodate 1/2" through 4" EMT or Rigid Condui |  | Thomas & Betts | 6H6B | 24 | 5 | 120 | Made in USA: equivalent to CADDY CD6B
| 1 1/4" KNOCK OUT PLUG (OD 2 7/32") Mat'l: Rubber (Color: Dark Grey) One piece push-in design reusable for Liquidtight Flexible Conduit (NEMA 3R, 4, 6 & 13) 30-150° C |  | Thomas & Betts | 5713 | 25 | 5 | 125 | Made in USA (BOX: 4 1/2" x 6" x 4")
| POLE LINE Flat mount H.D. triplex cable rack (Heavy duty wall rack constructed of 1/8” steel, C/W 2 mtg holes 1/2”, C/W No. IB135 insulator (3 1/4" H)). |  | Thomas & Betts | AN117 | 10 | 50 | 500 | MADE IN CANADA
| ARMOURED CABLE (BX) or FLEXIBLE METAL CONDUIT ONE SCREW CONNECTOR, TRADE SIZE 3/8 In., 1 In. LONG, STRAIGHT, ZINC ALLOY, CSA/UL APPROVED, For use on 14/2 - 10/2; 14/3 - 10/3; 14/4 - 10/4 ARMOURED(BX) CABLE or 5/16" & 7/16" FLEX.(1" K/O). |  | Thomas & Betts | CI70 | 100 | 1 | 100
| 1/2" EMT STRAP 2 HOLES (0.190") "SNAP-ON TYPE" STEEL WIDTH: 0.635" (Zn Plated) |  | Thomas & Betts | CI1404 | 12 | 0.5 | 6
| 3/4" EMT STRAP 2 HOLES (0.190") "SNAP-ON TYPE" STEEL WIDTH: 0.63" (Zn Plated) |  | Thomas & Betts | CI1406 | 7 | 0.5 | 3.5
| 1" EMT STRAP 2 HOLES (0.190") "SNAP-ON TYPE" STEEL WIDTH: 0.635" (Zn Plated) |  | Thomas & Betts | CI1408 | 1 | 0.5 | 0.5
| 3/4" EMT DIE CAST FITTING (SET SCREW CONNECTOR CONCRETE TIGHT) |  | Thomas & Betts | TC-222 (CI5006) | 25 | 1.5 | 37.5 | Made in Mexico
| 2" Electrical Metallic Tubing Compression Connector, Rain Tight, Thinwall Conduit, Use To Secure & Terminate Electrical Metallic Tubing To A Knockout In A Concrete Tight Box Or Damp Location, UL & CSA |  | Thomas & Betts | TC216SC | 7 | 15 | 105 | Made in Mexico
| STEEL CITY 1/2" EMT COMPRESSION COUPLING |  | Thomas & Betts | TK211SC | 24 | 5 | 120 | Made in Mexico
| STEEL CITY 1" EMT COMPRESSION COUPLING |  | Thomas & Betts | TK213SC | 6 | 7.5 | 45 | Made in Mexico
| 2" EMT STRAP 2 HOLES (0.285") "SNAP-ON TYPE" STEEL WIDTH: 1" (Zn Plated) |  | Thomas & Betts | TS906-1 | 23 | 2 | 46 | Made in Canada
| 2" EMT STRAP 2 HOLES (0.285") "SNAP-ON TYPE" STEEL WIDTH: 3/4" (Zn Plated) |  | Thomas & Betts | 2LN1416 | 10 | 2 | 20 | Made in Canada
| 120/277 VOLTS 50/60 Hz Compact Fluorescent ELECTRONIC BALLAST FOR Two Lamp CFM42W PS 120-277V, Bottom Exit |  | TRIAD Univ. Lighting Tech. | C242UNVBE | 8 | 40 | 320 | Made in USA
Pls contact Michel Charlebois at:
mdcharlebois@videotron.ca
for price validation and parts availability
or dial 514-452-3538
Note on F3: Michel Charlebois: installed on Lithonia Lighting fixture # GRSH/AHW 70S
Note on F66: Michel Charlebois: installed on SOLERA Lighting fixture # 16X RXB8 TYPE E1